Whole Building Design by Don Prowler, FAIA - Donald Prowler & Associates Revised and updated by Stephanie Vierra - Steven Winter Associates, Inc.

Print Email THE ROLE OF BUILDINGS AND THE CASE FOR WHOLE BUILDING DESIGN Buildings are deceptively complex. At their best, they connect us with the past and represent the greatest legacy for the future. They provide shelter, encourage productivity, embody our culture, and certainly play an important part in life on the planet. In fact, the role of buildings is constantly changing. Buildings today are life support systems, communication and data terminals, centers of education, justice, and community, and so much more. They are incredibly expensive to build and maintain and must constantly be adjusted to function effectively over their life cycle. The economics of building has become as complex as its design. Buildings also annually consume over 40% of the energy in the U.S., the vast majority of which primarily depend on energy produced from nonrenewable, fossil fuel sources—coal, oil, natural gas—extracted from the Earth and burned to produce electricity. Through this process, buildings are responsible for more than a third of greenhouse gas emissions. The build up is intensifying in the atmosphere and changing climate in ways that may affect weather patterns, sea level, and the land masses that support life. Buildings often contribute to health problems such as asthma and allergies due to poor indoor environmental quality. Since the events of 9/11, safety has become paramount in buildings with security-related expenditures one of the fastest rising expenses. The federal government has responded to these challenges by putting into place Executive Orders and Mandates. Other programs, like the USGBC LEED® rating system, define standards and measures for sustainable buildings. The private sector and industry have also responded by creating more products and systems that have multiple benefits. The knowledge, materials, and systems exist and are readily available to make a positive impact on the environment and on the quality of life of building occupants. Whole Building Design encompasses all of these issues and programs and is an essential way of approaching building projects. Understanding Whole Building Design concepts will enable you to think and practice in an integrated fashion to meet the demands of today's as well as tomorrow's high-performance building projects. The following information is an introduction and overview of the Whole Building design approach and team process along with concepts and tools to apply to your next building project. BACKGROUND: THE CONCEPT OF WHOLES The concept of "wholes" is not new. In 1926, Jan Christian Smuts, a South African Prime Minister and philosopher, coined the term "holism". He believed that there are no individual parts in nature, only patterns and arrangements that contribute to the whole. Buckminster Fuller also said back in 1969 while working on the space program: "Synergy is the only word in our language that means behavior of whole systems, unpredicted by the separately observed behaviors of the system's parts or any subassembly of the system's parts." Keep in mind that "The Whole is Greater than the Sum of its Parts." WHAT IS WHOLE BUILDING DESIGN? Whole Building Design consists of two components: an integrated design approach and an integrated team process. The Whole Building or "integrated" design approach asks all the members of the building stakeholder community, and the technical planning, design, and construction team to look at the project objectives, and building materials, systems, and assemblies from many different perspectives. This approach is a deviation from the typical planning and design process of relying on the expertise of specialists who work in their respective specialties somewhat isolated from each other. Whole Building design in practice also requires an integrated team process in which the design team and all affected stakeholders work together throughout the project phases and to evaluate the design for cost, quality-of-life, future flexibility, efficiency; overall environmental impact; productivity, creativity; and how the occupants will be enlivened. The 'Whole Buildings' process draws from the knowledge pool of all the stakeholders across the life cycle of the project, from defining the need for a building, through planning, design, construction, building occupancy, and operations. The Integrated Design Approach Each design objective is significantly important in any project, yet a truly successful one is where project goals are identified early on and held in proper balance during the design process; and where their interrelationships and interdependencies with all building systems are understood, evaluated, appropriately applied, and coordinated concurrently from the planning and programming phase. The end result is a high-performance building. Design Objectives of Whole Building Design In buildings, to achieve a truly successful holistic project, these design objectives must be considered in concert with each other: Accessible: Pertains to building elements, heights and clearances implemented to address the specific needs of disabled people. Aesthetics: Pertains to the physical appearance and image of building elements and spaces as well as the integrated design process. Cost-Effective: Pertains to selecting building elements on the basis of life-cycle costs (weighing options during concepts, design development, and value engineering) as well as basic cost estimating and budget control. Functional/Operational: Pertains to functional programming—spatial needs and requirements, system performance as well as durability and efficient maintenance of building elements. Historic Preservation: Pertains to specific actions within a historic district or affecting a historic building whereby building elements and strategies are classifiable into one of the four approaches: preservation, rehabilitation, restoration, or reconstruction. Productive: Pertains to occupants' well-being—physical and psychological comfort—including building elements such as air distribution, lighting, workspaces, systems, and technology. Secure/Safe: Pertains to the physical protection of occupants and assets from man-made and natural hazards. Sustainable: Pertains to environmental performance of building elements and strategies. The Integrated Team Process To create a successful high-performance building, an interactive approach to the design process is required. It means all the stakeholders—everyone involved in the planning, design, use, construction, operation, and maintenance of the facility—must fully understand the issues and concerns of all the other parties and interact closely throughout all phases of the project. (See Engage the Integrated Design Process.) A design charrette—a focused and collaborative brainstorming session held at the beginning of a project—encourages an exchange of ideas and information and allows truly integrated design solutions to take form. Team members—all the stakeholders— are encouraged to cross fertilize and address problems beyond their field of expertise. The charrette is particularly helpful in complex situations where many people represent the interests of the client and conflicting needs and constituencies. Participants are educated about the issues and resolution enables them to "buy into" the schematic solutions. A final solution isn't necessarily produced, but important, often interdependent, issues are explored. See Planning and Conducting Integrated Design Charrettes. It is not enough to design the project in a holistic manner. It is also important to determine the effectiveness and outcome of the integrated design solution. Consider conducting a Facility Performance Evaluation to ensure that the high-performance goals have been met and will continue to be met over the life cycle of the project. Consider retrocommissioning to ensure that the building will continue to optimally perform through continual adjustments. See Building Commissioning and Document Compliance and Acceptance. A Holistic Design Philosophy Whole Building Design also provides the strategies to achieve high-performance, low energy, sustainable, secure buildings. Whole building design looks beyond the immediate building to how the building and its systems can be integrated with supporting systems on its site and in its community, and at how materials, systems and products of a building connect, interact, and affect one another. A successful Whole Building Design is a solution that is greater than the sum of its parts. Through a systematic analysis of these interdependencies, and leveraging whole building design strategies to achieve multiple benefits, a much more efficient and cost-effective building can be produced. For example, the choice of a mechanical system might impact the quality of the air in the building, the ease of maintenance, global climate change, operating costs, fuel choice, and whether the windows of a building are operable. In turn, the size of the mechanical system will depend on factors such as, the type of lighting and controls used, how much natural daylight is brought in, how the space is organized, the facility's operating hours, and the local microclimate. At the same time, these same materials and systems choices may have an impact on the aesthetics, accessibility, and security of the project. EMERGING ISSUES As the world of buildings continues to change and grow in complexity, additional programs and information will have an impact on the entire design, planning and construction community. Among them is Building Information Modeling (BIM) software that is the newest trend in computer-aided design. Many industry professionals forecast that buildings will be built directly from the electronic models that BIM creates, or that architects will no longer create drawings but will instead "build buildings inside their computers." BIM has the potential to change the role of drawings for the construction process, improve architectural productivity, and make it easier to consider and evaluate design alternatives. BIM will also aid in the process of integrating the various design teams' work, furthering encouraging and demanding an integrated team process.